

**Minutes from ASP Laboratory Team Meeting**

Date: August 14th, 2025

Present: Marcos Lemes (UM), Zoe Walker (UC), Kitte Gerlich (AU), and Egon Frandsen (AU)

Absent: Else Ostermann (GNI), Katharina Hamer (GNI), Brent Else (UC), Carolin Löscher (SDU), David Capelle (DFO), and Christien Laber (UiT)

Referee: Marcos

This is meeting has been taken online.

We have discussed below topics:

* Marcos (UM) gave an update on DIC and TA on interlab comparison study with the data submitted up to date.
* According to reviewed data from our exercise, has been found out that one of the labs does not use borosilicate flask for samples and standard, Marcos (UM) suggested to change type of exetainer to borosilicate from one of the labs.
* Kitte (AU) mentioned that type and performance of the TA’s electrode plays crucial role on TA analysis.
* Marcos reminded couple of labs to send the questionary to him.
* The group is waiting the remaining laboratories to submit their data.

I would like to thank you all for participating in this exercise.

Please use Teams link <https://teams.microsoft.com/l/meetup-join/19%3aiaBWS_EnwxKky61JDxNP89AT3vq9AlgyUTHa4FP4Xpc1%40thread.tacv2/1681337140562?context=%7b%22Tid%22%3a%224f80dd0b-338c-4e4c-8a14-90446962f7b8%22%2c%22Oid%22%3a%2271262080-0ca9-4c08-ba54-444a9d0cbce3%22%7d> for the meetings

**IMPORTANT NOTE**: The next meeting, will be in October 9th 2025 at 15h00 CET